# ABSTRACT

Eye diseases have long posed a major global health challenge, with Age-related Macular Degeneration (AMD) emerging as a leading cause of vision impairment. Traditionally, diagnosing such retinal conditions has relied on manual evaluation of Optical Coherence Tomography (OCT) images—an effective yet time-consuming process requiring specialized expertise.

This project presents a deep learning-based approach for the automated classification of OCT images, combining a custom Convolutional Neural Network (CNN) with well- established transfer learning models. Deep learning methods are renowned for their high accuracy but demand significant computational resources. In our study, we employ MobileNet, ResNet50, GoogleNet, and DenseNet for feature extraction and comparative analysis.

The models are trained and refined on an OCT dataset utilizing various hyperparameter settings, such as learning rate, epoch count and optimizing techniques to get maximal accuracy. Upon concluding our study, we evaluate the performance of these models and ascertain the optimal design based on accuracy and additional assessment criteria. Our methodology illustrates the capability of deep learning in the automated classification of OCT images, providing enhanced diagnostic support for the identification of retinal diseases.

One of the strongest components of this project is the comparison of multiple model classification performance metrics evalution, including accuracy, precision, recall, F1- score, and confusion matrices. By comparing different architectures in a structured way, we determine the best performing and accurate deep learning model for retinal detection of OCT images. The outcome of this research contributes to the literature in AI-assisted ophthalmology, offering a cost-efficient and scalable solution for early detection and

screening of retinal disease.

Sustainable Development Goals:

This project supports the Sustainable Development Goal (SDG) 3: Good Health and Well-being goal by promoting the utilization of new and advanced technology in healthcare in order to facilitate timely diagnosis, support patient outcomes, and improve the quality of healthcare services and practice.